## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-04-03 | n | resident | 21W015343 | famis | BB-H302 | For the past few days, I have noticed that my air conditioner is not cooling the room properly | M9-M10 | chillers were down J.Hanley inspected reset system went to unit to confirm and inform resident | resident | close
| n | resident | 21W015344 | famis | BB-H302 | My sink is very clogged, so water takes a very long time to go down it. I need someone to unclog it for me. | M9-M10 | unclogged ptrap assembly | resident | close
| n | resident | 21W015342 | famis | FA-11F-BAT | Water in shower seems to only come out hot; won't come out cold no matter what direction the knob is moved. | M9-M10 | emergency water shut down, needed to replace the shower valve cartidge complete | resident | close
| n | resident | 21W015341 | famis | OB-114 | When we turn on the shower, tons of water keeps coming out of the faucet | M9-M10 | replace tub spout | resident | close
| n | resident | 21W015340 | famis | OB-114 | The front door handle has a screw in it that has been stripped and, as a result, there is a sharp piece sticking out that we have cut our knuckles on. | M9-M10 | files down shard edges around deadbolt | resident | close
| n | resident | 21W015339 | famis | FA-08B-BAT | One lightbulb above the washbasin is out. | M9-M10 | replaced 4 vanity light with LEDs | resident | close
| n | resident | 21W015338 | famis | FA-15E | The fire alarm's wire is broken and out of battery | M9-M10 | replaced some detector in bed area | resident | close
| n | resident | 21W015337 | famis | GM-D305 | I think my sinks are clogged. the water's not draining | M9-M10 | snaked kitchen and bathroom drainline | resident | close
| n | resident | 21W015335 | famis | PH-B235-SH | shower is not getting hot water | M9-M10 | power failure on boilers,system reset by J.Hanley confirmed water temp hot water restored in hall baths and showers | resident | close
| n | resident | 21W015333 | famis | BB-Q201 | ac blowing hot air not working | M9-M10 | chillers were down,system was reset to work normally informed resident to confirm ac is working | resident | close
| n | resident | 21W015336 | famis | BB-U202 | ac blowing hot air not working | M9-M10 | chillers were down,system was reset to work normally informed resident to confirm ac is working | resident | close
| n | resident | 21W015348 | famis | BB-P303 | ac blowing hot air not working | M9-M10 | chillers were down,system was reset to work normally informed resident to confirm ac is working | resident | close
| n | resident | 21W015349 | famis | BB-V202 | ac blowing hot air not working | M9-M10 | chillers were down,system was reset to work normally informed resident to confirm ac is working | resident | close
| n | resident | 21W015332 | famis | BB-A211 | ac blowing hot air not working | M9-M10 | chillers were down,system was reset to work normally informed resident to confirm ac is working | resident | close
| n | resident | 21W015346 | famis | BB-S302 | ac blowing hot air not working | M9-M10 | chillers were down,system was reset to work normally informed resident to confirm ac is working | resident | close
| n | resident | 21W015319 | famis | BB-L201 | ac blowing hot air not working | M9-M10 | chillers were down,system was reset to work normally informed resident to confirm ac is working | resident | close
| n | resident | 21W015347 | famis | BB-T104 | ac blowing hot air not working | M9-M10 | chillers were down,system was reset to work normally knocked on the unit to inform resident to confirm ac is working, also called RD on duty to relay to all other residents about the issue and it was resolved | resident | close
| y | resident | 21W015351 | famis | PL-57 | Leak under the sink when water drains. | M9-M10 | resident not responding on arrival follow up in the daytime please | follow-up | open