## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-04-08 | Y | resident | 21W015627 | famis | OB-53 | ac is leaking | ext-shift | cleared drain-ac filter was replaced inspect coil please | follow-up | open
| n | staff | 21W013093 | famis | CDC-108 | sink sand trap leaking | ext-shift | replaced sand trap | staff | close
| n | staff | 21W013092 | famis | CDC-101 | sink sand trap leaking | ext-shift | replaced sand trap | staff | close
| n | resident | 21W015700 | famis | BB-U106 | living room and kitchen bathroom and bedroom flooded with water from the kitchen sink | ext-shift | found backed up kitchen sink overflowed and leaked into bathroom and bedroom living room area, snaked drainline,replaced broken strainer basket-extracted floors and carpets left fan blower to continue dryout custodial follow up needed | resident | close
| n | resident | 21W015701 | famis | FA-13A | front door lock loose | ext-shift | adjusted deadbolt and tightened | resident | close
| n | resident | 21W015685 | famis | FA-13A-KIT | fridge leaking | ext-shift | cleared condensation pan | resident | close
| n | resident | 21W015698 | famis | GM-D207 | leak in the bathroom ceiling | ext-shift | replaced wax ring from upstairs toilet gmd-306/ceiling in gmd-207 needs dryout and repair | resident | close
| y | resident | 21W015699 | famis | GM-D109 | oven handle fell and glass door broke and shattered | ext-shift | area picked up of glass/resident requested am visit for repair | resident | open
| n | resident | 21W015702 | famis | GM-L309 | light out in living room | ext-shift | replaced liviing room lamp | resident | close
| Y | resident | 21W015662 | famis | GM-L309 | refrigerator making loud noises off and on | ext-shift | evaporator fan motor is going out-resident was in the shower unable to remove food from the freezer | follow-up | open