## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-04-13 | Y | staff | 21W015740 | famis | CDC-N 1108 | dryer is not working sometimes | M9-M10 | parts need to be ordered to replace dryer start switch | parts on hold/ | open
| n | resident | 21W015529 | famis | GM-M328 ST | The lights connected to the middle light switch are out. If it is turned on the lights flicker for a couple of seconds and then just turn off | M9-M10 | relamped entire room of vaulted ceiling can lights and two pendant fixtures hanging from the ceiling | staff | close
| n | resident | 21W015937 | famis | GM-I103 | dishwasher leaked all over the floor | M9-M10 | resident used to much soap or wrong detergent cleared and ran through cycles | resident | close
| n | resident | 21W015946 | famis | GM-I103 | diposal clogged | M9-M10 | reset unjammed disposal | resident | close
| n | resident | 21W015938 | famis | LO-F314-IR | sink faucet doesn’t stop running | M9-M10 | replaced batteries in sensor | staff | close
| n | resident | 21W015947 | famis | LO-F314-IR | sink clogged | M9-M10 | unclogged strainer and ptrap | staff | close
| n | resident | 21W015940 | famis | BB-N201 | no power in half the apartment | M9-M10 | reset breaker confirmed power was restored | resident | close
| n | resident | 21W015944 | famis | BB-N201 | light above the sink is out | M9-M10 | replaced light | resident | close
| n | resident | 21W015945 | famis | BB-N201 | disposal is not turning on | M9-M10 | reset disposal | resident | close
| n | M1 | n/a | radio | FK-10B | lock up | M9-M10 | secured unit | staff | close
| n | M1 | n/a | radio | FK-11D | lock up | M9-M10 | secured unit | staff | close
| n | M1 | n/a | radio | FK-garage | lock up | M9-M10 | secured garages | staff | close