## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-04-15 | n | ext-shift | 21W016063 | famis | BB-S210 | exterior light out | M9-M10 | replaced walkway fixture light | staff | close
| n | ext-shift | 21W016062 | famis | BB-P-GROUN | exterior light out | M9-M10 | replaced wall fixture with LED wallpack | staff | close
| n | ext-shift | 21W016065 | famis | BB-Q205 | exterior light out | M9-M10 | replaced walkway fixture light | staff | close
| n | ext-shift | 21W016064 | famis | BB-T203 | exterior light out | M9-M10 | replaced walkway fixture light | staff | close
| n | ext-shift | 21W016066 | famis | PL-F-EC | detached garages all exterior lighting is out | M9-M10 | reset exterior ligthing breaker power restored | staff | close
| n | ext-shift | 21W016061 | famis | PL-D-41 | exterior light out | M9-M10 | replaced light fixture under staircase with LED | staff | close
| n | ext-shift | 21W016067 | famis | PL-BUILDIN | exterior light out | M9-M10 | replaced walkway fixture light | staff | close
| n | ext-shift | 21W016060 | famis | PL-B-31 | exterior light out | M9-M10 | replaced light fixture under staircase with LED | staff | close
| n | M1 | n/a | radio | OB-113 | lock up | M9-M10 | secured unit | staff | close
| n | M1 | n/a | radio | OB-121 | lock up | M9-M10 | secured unit | staff | close
| n | M1 | n/a | radio | FK-6H | lock up | M9-M10 | secured unit | staff | close
| n | M1 | n/a | radio | FK-5C | lock up | M9-M10 | secured unit | staff | close
| n | M1 | n/a | radio | BBV-pool | pool is being drained | M9-M10 | followed up throughout the night for the water level,removed sump pump and placed in the pump room | staff | close