## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-05-01 | y | resident | 21W016951 | famis | OB-074 | hot water in both bathroom fixtures | M10 | due to oban pool filling the cold water affected- following up on 5-1-21 to ensure all water is normal | follow-up | open
| y | resident | 21W016952 | famis | OB-094 | hot water in both bathroom fixtures | M10 | due to oban pool filling the cold water affected- following up on 5-1-21 to ensure all water is normal | follow-up | open
| y | resident | 21W016953 | famis | OB-094 | fridge light out | M10 | resident not reponsive will follow-up 5-1-21 | follow-up | open
| n | ext-shift | 21W016958 | famis | BB-J115 | exterior light out | M10 | replaced wall pack light fixture with LED | staff | close
| n | ext-shift | 21W016957 | famis | OB-113 | exterior light out | M10 | repalced front door entry light | staff | close
| y | resident | 21W016949 | famis | OB-132 | bathroom fan works off and on | M10 | bathroom fan closest to the front door needs replacing | follow-up | open
| n | resident | 21W016955 | famis | OB-132 | tub knobs broken | M10 | rep[laced control and temp knobs | resident | close
| n | resident | 21W016956 | famis | OB-132 | both pop ups are broken in the sinks | M10 | replaced both pop up stoppers in the sinsk | resident | close
| n | m1 | na | radio | OB-pool | drain and fill pool | M10 | removed sump pump and filled and removed hoses to prep pool for use | staff | close
| Y | m1 | na | radio | BBH-101 | ceiling leak | M10 | leak reported chiller line leaking sprayed access panelf | follow-up | open