## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-05-07 | n | resident | 21W017308 | famis | GMI-502 | ello, our sink has been whistling in the bathroom. It seems to come on at night past 11pm and randomly throughout the day. I would describe it as a low volume, high pitch whistle. We have had issues with this sink making sounds before. | M10 | found no issues no leaks or sounds the source of the pipe noise from the bahtroom faucet described by the resident | resident | close
| n | resident | 21W017324 | famis | GMI-502 | bathroom sink clogged | M10 | unclogged pop up asssembly | resident | close
| n | ext-shift | 21W017325 | famis | GMI-roof | roof drain clogged | M10 | roof top drain clogged with mud cleared unclogged | staff | close
| n | resident | 21W017313 | famis | BBP-302 | bathroom sink clogged | M10 | unclogged ptrap assembly | resident | close
| n | resident | 21W017326 | famis | BBP-302 | toilet handle broken | M10 | replaced handle | resident | close
| n | resident | 21W017327 | famis | BBP-302 | shower is draining slow | M10 | removed hair clog from the strainer | resident | close
| n | M1 | n/a | radio | BBV-pool | cone off area in pool | M10 | roped off area by light pole and wire work | staff | close
| y | resident | n/a | ext-shift | BBG-laundry room | washer to the right IAP 610 is not working reported to staff by the resident | M10 | unplugged washer and turned off water supply | follow-up | open
| n | resident | 21W017323 | famis | GMA-401 | I was trying to soak some towels in the bathroom sink, and I pushed the sink plug down. Now it is stuck and I cannot get it out, I've been trying and it won't seem to move nor unplug. | M10 | remove stoppper cleared clog | resident | close
| n | resident | 21W017328 | famis | GMA-401 | shower is draining slow | M10 | cleared drain line through overflow removed clog | resident | close