## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-05-11 | N | FAMMIS | 21W017488 |  | GMF-402 | KITCHEN SINK LEAKING | M9 | TIGHTEN UP WATER SUPPLY LINE TO STOP LEAK | RESIDENT | CLOSED
| N | FAMMIS | 21W017436 |  | CDC-1131 | REMOVE FENCING ON PLAYGROUND | M9 | REMOVED FENCING IN PLAYGROUNG BY ROOM 1131 |  | CLOSED
| N | FAMMIS | 21WO17495 |  | GMI-521 | TRASH CHUTE DOOR NOT OPENING | M9 | TOOK DOOR APART ADJUSTED LATCH FOR DOOR TO OPEN |  | CLOSED
| N | FAMMIS | 21W017499 |  | OB-15 | NO HOT WATER | M9 | RE LIT WATER HEATER | RESIDENT | CLOSED
| N | STEAM PLANT |  |  | LO-DINNING | SINK CLOGGED | M9 | SNAKED DRAIN | DIINING MANAGER LAVERT
| N | FAMMIS | 21W017511 |  | PL-49 | CLOGGED SHOWER | M9 | CLEARED DRAIN AND REPLACED TUB STOPPER | RESIDENT | CLOSED
| N | FAMMIS | 21W017515 |  | GMF-402 | KITCHEN FAUCET LOOSE | M9 | SECURED FAUCET | RESIDENT | CLOSED
| N | FAMMIS | 21W017517 |  | GM-POOL | TURN POOL AREA LIGHTS ON/OFF | M9 | TURNED LIGHTS ON/OFF |  | CLOSED
| N | FAMMIS | 21W017516 |  | GM-POOL | SERVICED POOL | M9 | SERVICED POOL AND FILLED CHLORINE FEEDERS |  | CLOSED