## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-05-13 | n | resident | 21W017686 | famis | FA-15H-A B | pipe leaking in the shower ceiling | M9-M10 | unclogged condensation line | resident | close
| n | resident | 21W017716 | famis | FA-15H-A B | shower draining slow | M9-M10 | unclogged pop up | resident | close
| n | resident | 21W017717 | famis | FA-15H | filter is dirty | M9-M10 | replaced ac filter | resident | close
| n | resident | 21W017718 | famis | FA-15H-B B | toilet is running | M9-M10 | adjusted fill valve | resident | close
| n | staff | 21W017719 | famis | GM-K POOL | inspect pool | M9-M10 | checked chemicals serviced chlorine tank and refilled | staff | close
| n | staff | 21W017712 | famis | cdc n1117 | cabinet over sink is falling off | M9-M10 | replaced hardware installed cabinet | staff | close
| y | staff | 21W017713 | famis | cdc n1121 | dishwasher is leaking | M9-M10 | turned supply off door gasket is not sealing door | follow-up | open
| n | staff | 21W017714 | famis | cdc n 1108 | washer is not working | M9-M10 | checked washer was running | staff | close
| n | staff | 21W017715 | famis | gmh-market | back door and gate key getting stuck | M9-M10 | gate sticking lubed lock | staff | close
| n | staff | 21W017720 | famis | BB-C101 | drain clogged | M9-M10 | unclogged drainline | staff | close
| n | staff | 21W017721 | famis | BB-C101 | sink is leaking | M9-M10 | replaced basket strainer | staff | close
| n | staff | n/a | es-maint | CDC-n restroom | no pressure in the faucet | M9-M10 | flushed aerator and line | staff | close
| n | staff | n/a | es-maint | CDC-n 1117 | dishwasher clogged | M9-M10 | unclogged drainline | staff | close