## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-05-18 | y | resident | n/a | resident | GMI-102 | freezer is continuing to give issues | M9-M10 | ice continuing to build in the freezer and affecting the fridge | follow-up | open
| n | M1 | n/a | staff | GMM- | genie lift in GMM-103 | M9-M10 | moved lift from gmm-PHA electrical room | staff | close
| y | resident | 21W017989 | famis | GMF-210 | The flushing handle seems to have detached / broke off from the water release bar inside the toilet | M9-M10 | resident was not responsive AM follow-up | follow-up | open
| n | staff | 21W017990 | famis | BB-C101 | wash sink leaking | M9-M10 | replace cracked abs wasteline | staff | close
| n | staff | 21W017991 | famis | GM-E401 | ac filter | M9-M10 | replaced ac filter | staff | close
| n | staff | 21W017992 | famis | GM-E402 | ac filter | M9-M10 | replaced ac filter | staff | close
| n | staff | 21W017993 | famis | GM-E403 | ac filter | M9-M10 | replaced ac filter | staff | close
| n | staff | 21W017994 | famis | GM-E404 | ac filter | M9-M10 | replaced ac filter | staff | close
| n | staff | 21W017995 | famis | GM-E405 | ac filter | M9-M10 | replaced ac filter | staff | close
| n | staff | 21W017996 | famis | GM-E406 | ac filter | M9-M10 | replaced ac filter | staff | close
| n | staff | 21W017997 | famis | GM-E407 | ac filter | M9-M10 | replaced ac filter | staff | close
| n | staff | 21W017998 | famis | GM-E408 | ac filter | M9-M10 | replaced ac filter | staff | close
| n | staff | 21W017999 | famis | GM-E409 | ac filter | M9-M10 | replaced ac filter | staff | close
| n | staff | 21W018000 | famis | GM-E410 | ac filter | M9-M10 | replaced ac filter | staff | close
| n | staff | 21W018001 | famis | GM-E404 | toilet leaking | M9-M10 | adjusted flapper fill valve | staff | close
| n | staff | 21W018002 | famis | GM-E410 | thermostat is not working/locked | M9-M10 | reset tstat unclocked | staff | close