## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-05-23 | N | M1 |  | M1 | BB PUBLIC RESTROOMS | TOILET NOT FLUSHING | M9 | REPLACED DIAPRHAM ON SLOAN
| N | M1 |  |  | GM-POOL | SERVICE POOL | M9 | RESET FAIL SAFE ALARM TOOK CL FEEDER APART CLEANED AND FILLED
| N | FAMMIS | 21W018287 |  | BBE-304 | NO POWER | M9 | RESET CIRCUIT BREAKER | RESIDENT | CLOSED
| N | M1 |  |  | GM-F | ELS TRAINING | M9 | COMPLETED SAFETY ORIENTATION TRAINING
| N | M1 |  |  | GMM | SERVICE COMPRESSOR | M9 | DRAIN TRASH CHUTE COMPRESSOR
| N | M1 |  |  | GML | SERVICE COMPRESSOR | M9 | DRAIN TRASH CHUTE COMPRESSOR
| N | M1 |  |  | GMG | SERVICE COMPRESSOR | M9 | DRAIN TRASH CHUTE COMPRESSOR
| N | EXT SHT |  |  | GM-POOL | TURN ON/OFF FIRE PIT | M9 | TURNED ON/OFF FIRE PIT
| N | EXT SHT |  |  | GM-POOL | TURNED ON/OFF POOL LIGHTS | M9 | TURNED ON/OFF POOL LIGHTS
| N | M1 |  |  | GMG-308 | REPLACE AC FILTER | M9 | REPLACED AC FILTER
| N | M1 |  |  | GMG-309 | REPLACE AC FILTER | M9 | REPLACED AC FILTER