## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-05-24 | N | FAMMIS | 21W018347 |  | PL-3 | WATER BUBBLE IN CEILING | M9 | REPLACED TUB SPOUT IN APT #4 | LEFT DOOR TAG | CLOSED
| Y | M9 |  |  | PL-3 | BATHE CEILING NEEDS DRYWALL REPAIR | M9 | BATH A NEEDS DRYWALL REPAIR FROM LEAK | FOLLOW UP | FOLLOW UP
| N | FAMMIS | 21W018336 |  | FA-12C | FRIDGE HAS NO POWER AND BATH LIGHT IS OUT | M9 | RESET BREAKER AND REPLACED BATH LIGHT | RESIDENT | CLOSED
| N | FAMMIS | 21W018364 |  | GM-POOL | SERVICE POOL | M9 | CHECKED WATER LEVELS FILLED CHLORINE FEEDER |  | CLOSED
| N | FAMIIS | 21W018363 |  | GMG-301 | REPLACED AC FILTER | M9 | REPLACED AC FILTER |  | CLOSED
| N | FAMMIS | 21W018362 |  | GMG-302 | REPLACED AC FILTER | M9 | REPLACED AC FILTER |  | CLOSED
| N | FAMMIS | 21W018361 |  | GMG-303 | REPLACED AC FILTER | M9 | REPLACED AC FILTER |  | CLOSED
| N | FAMMIS | 21W018360 |  | GMG-304 | REPLACED AC FILTER | M9 | REPLACED AC FILTER |  | CLOSED
| N | FAMMIS | 21W018357 |  | GMG-305 | REPLACED AC FILTER | M9 | REPLACED AC FILTER |  | CLOSED
| N | FAMMIS | 21W018356 |  | GMG-307 | REPLACED AC FILTER | M9 | REPLACED AC FILTER |  | CLOSED
| N | FAMMIS | 21W018355 |  | GMG-308 | REPLACED AC FILTER | M9 | REPLACED AC FILTER |  | CLOSED
| N | FAMMIS | 21W018354 |  | GMG-309 | REPLACED AC FILTER | M9 | REPLACED AC FILTER |  | CLOSED