## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-06-01 | N | M1 |  |  | GM-F | COMPLETE TRAINING | M9 | COMPLETED FIRE EXTINGUISHER TRAINING |  | CLOSED
| N | M1 |  |  | GM-F | COMPLETE TRAINING | M9 | COMPLETED HEAT ILLNESS TRAINING |  | CLOSED
| N | M1 |  |  | GM-F | COMPLETE TRAINING | M9 | COMPLETED SAFETY ORIENTATION TRAINING |  | CLOSED
| N | FAMMIS | 21W018826 |  | GM-POOL | SERVICED POOL | M9 | FILLED CHLORINE AND ACID FEEDERS |  | CLOSED
| N | M1 |  |  | GM-POOL | TURN DECK LIGHTS ON/OFF | M9 | TURNED LIGHTS ON/OFF |  | CLOSED
| N | FAMMIS | 21W018833 |  | GM-A404 | AC LEAKING | M9 | AC ICED UP DUE TO PLUGGED AC FILTER REPLACED FILTER | RESIDENT | CLOSED
| Y | FAMMIS | 21S017583 |  | FA-5A | AC LEAKING | M9 | LEAK COMING FROM CONDENSATE PAN NEEDS TO BE REPLACED | DOOR TAG | FOLLOW UP
| Y | FAMMIS | 21W018822 |  | GM-I102 | FREEZER ICING UP | M9 | FREEZER DOOR NEEDS GASKET | RESIDENT | FOLLOW UP