## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-06-07 | N | FAMMIS | 21W019296 |  | GM-ENTRY PLAZA | EXTERIOR POILE LIGHT OUT BY RSO | M9 | REPLACED LED DRIVER |  | CLOSED
| N | FAMMIS | 21W019295 |  | GM-POOL | SERVICE POOL | M9 | SERVICED POOL AND FILLED CHLORINE FEEDER |  | CLOSD
| N | FAMMIS | 21W019294 |  | BBT-303 | TOILET HANDLE BROKE OFF | M9 | REPLACED TOILET HANDLE | RESIDENT | CLOSED
| N | FAMMIS | 21W019276 |  | CDC-128 | CO DETECOTR KEEPS BEEPING | M9 | COULD NOT LOCATE DETECTOR IN ROOM |  | CLOSED
| N | FAMMIS | 21W019264 |  | CDC-1112 | GAS NEEDS TO BE TURNED OFF | M9 | SHUT GAS OFF TO STOVE |  | CLOSED
| N | FAMMIS | 21W019252 |  | CDC-1112 | CO DETECTOR KEEPS BEEPING | M9 | REPLACED BATERIES |  | CLOSED
| Y | FAMMIS | 21W019243 |  | CDC-1225 | DISHWAHER RACK BROKEN | M9 | PARTS ON ORDER | FOLLOW UP | FOLLOW UP