## Sheet1
extended shift report
Date | follow up y/n: | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-06-12 | n | resident | 21W019640 | famis | GM-L508 | Under the kitchen sink, the cabinets right door needs to have the top lining/border reglued. Thanks | M10 | glued and taped trim over the cabinet door | resident | close
| n | resident | 21W019646 | famis | GM-L508 | wall light out | M10 | replaced ballast and bulb | resident | close
| n | resident | 21W019648 | famis | GM-F310 | fridge making noised like running water | M10 | fridge was defrosting leak had stopped | resident | close
| n | resident | 21W019653 | famis | FA-09N | Fire alarm randomly beeping | M10 | checked reset hall and bedroom alarm | resident | close
| n | resident | 21W019654 | famis | FA-09N-KIT | Kitchen sink water faucet leaking | M10 | replaced kitchen faucet | resident | close
| n | resident | 21W019656 | famis | FA-09N-KIT | disposal clogged | M10 | reset and unclogged disposal | resident | close
| n | staff | 21W019657 | famis | GM-F101 TR | inspect compressor | M10 | inspected and drained trash chute compressor | staff | close
| n | resident | 21W019655 | famis | BB-E301 | no power in kitchen | M10 | reset breaker | resident | close
Note on F4: deleteme: l