## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-06-16 | N | M1 | 21W019904 | famis | FK-10C | power is out | M9-M10 | met with power company to confirm power at he meter is restored,reset main breaker confirmed proper voltage- | resident | close
| Y | resident | 21W019956 | famis | BBS-212 | Air conditioning in the apartment (Both thermostats in the entire apartment) cools very, very little (and very slowly) when the temperature is turned down | M9-M10 | turn on and ran both units are slow to reach temp | follow-up | open
| n | resident | 21W019951 | famis | BB-S212 | bedroom door lock seems to be missing a part | M9-M10 | door lock is working normal privacy lock | resident | close
| n | resident | 21W019976 | famis | BB-S212 | disposal jammed | M9-M10 | reset unclogged- cabinet floor is damaged | resident | close
| n | staff | 21W019977 | famis | GM-K POOL | inspect pool | M9-M10 | checked pool checmicals | staff | close
| n | staff | 21W019978 | famis | GM-G-GROUN | pole light out | M9-M10 | REPLACED LED DRIVER AND SURGE THERMO PROTECTOR | staff | close
| n | resident | 21W019970 | famis | OB-072 | leak in the ceiling and ac filter is dirty | M9-M10 | replaced filter cleaned return,unclogged, reset ac breaker ac wasn’t running | resident | close
| n | resident | 21W019975 | famis | OB-072 | sink clogged | M9-M10 | unclogged pop up drain | resident | close
| y | resident | 21W019972 | famis | FK-4P | shower is clogged and slow to drain | M9-M10 | resident not available to complete | follow-up | open