## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-06-17 | n | resident | 21W020048 | famis | FA-12B-A B | bathroom sink clogged | M9-M10 | snaked the drainline repeatedly to unclogg the drainline | resident | close
| n | resident | 21W020058 | famis | BB-V206 | garbage disposal is not working | M9-M10 | reset unjammed the disposal | resident | close
| n | resident | 21W020088 | famis | BB-V206 | the power in the kitchen is not turning on | M9-M10 | reset breaker | resident | close
| n | staff | 21W020089 | famis | BB-G-GROUN | washer in laundry room are off line | M9-M10 | inspected both laundry rooms all washers and dryers are on | staff | close
| n | resident | 21W020073 | famis | GM-B305 | ac vent in bathroom is leaking | M9-M10 | replaced ac filter unclogged condensation line | resident | close
| n | resident | 21W020091 | famis | GM-B305 | front door is jamming | M9-M10 | striker was jamming preventing the door from closing | resident | close
| n | resident | 21W020080 | famis | PL-B-17 | toilet is not flushing | M9-M10 | replaced flapper adjusted fill valve | resident | close
| n | resident | 21W020092 | famis | PL-B-17 | bath sink clogged | M9-M10 | unclogged pop up drain | resident | close
| n | staff | 21W020083 | famis | GM-F101 TR | PM-trash compressor | M9-M10 | drained compressor checked for leaks | staff | close
| n | staff | 21W020084 | famis | GM-G132 TR | PM-trash compressor | M9-M10 | drained compressor checked for leaks | staff | close
| n | staff | 21W020085 | famis | GM-I121 TR | PM-trash compressor | M9-M10 | drained compressor checked for leaks | staff | close
| n | staff | 21W020086 | famis | GM-L126 TR | PM-trash compressor | M9-M10 | drained compressor checked for leaks | staff | close
| n | staff | 21W020087 | famis | GM-M128 TR | PM-trash compressor | M9-M10 | drained compressor checked for leaks | staff | close
| n | staff | 21W020090 | famis | GM-K POOL | inspect pool | M9-M10 | checked pool chemicals,filled chlorine | staff | close
| Y | resident | 21W020082 | famis | PL-B-22 | leaking bath faucet | M9-M10 | resident was not responsive | follow-up | open