## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-06-18 | y | resident | 21W020127 | famis | FA-05M-BAT | ac leaking | M10 | second time in a week we have cleared the condensation line secondary still leaking | follow-up | open
| y | resident | 21W020154 | famis | FA-05M-BAT | shower is not getting cold water only hot | M10 | shut down building replaced catridge still only getting hot and lukewarm water- valve needs replaced | follow-up | open
| n | resident | 21W020139 | famis | CDC-N1108 | Washer is not draining. It took a whole day to drain | M10 | removed and cleared obstruction from drain hose | staff | close
| n | resident | 21W020153 | famis | CDC-N1108 | floor drain in laundry room clogged | M10 | snaked floor drain | staff | close
| n | resident | 21W020151 | famis | GM-M404 | The Freezer is very loud and making noises again, it has broken twice before and made very loud | M10 | replaced evaporator fan motor | resident | close
| n | resident | 21W020155 | famis | GM-M404 | disposal clogged | M10 | reset removed debris | resident | close
| n | resident | 21W020152 | famis | FA-15D-KIT | the sink has been clogged all day | M10 | snaked kitchen sink mainline | resident | close