## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-06-19 | Y | resident | 21W020158 | famis | FK-11S | ac is not cooling | M10 | found the breaker for the condenser tripped reset,checked the system throughout the night all was working,possible issue with the condenser shutting off and tripping the breaker please inspect | follow-up | open
| n | resident | 21W020161 | famis | FA-11S | deadbolt hard to open | M10 | lued deadbolt jamming with gm key | resident | close
| n | staff | 21W020162 | famis | BB-B103-ME | public restroom clogged | M10 | augered toilet clear | staff | close
| n | resident | 21W020160 | famis | GM-I308 | ac is not cooling | M10 | reset system cleaned supply screen set system is working now | resident | close
| n | resident | 21W020163 | famis | GM-I308 | ab sink draining slow | M10 | unclogged pop up assembly | resident | close
| n | staff | 21W020164 | famis | GM-I308 | light out | M10 | replaced front door entry light | resident | close
| n | staff | 21W020165 | famis | GM-I305 | light out | M10 | replaced front door entry light | staff | close
| n | staff | 21W020166 | famis | GM-I301 | light out | M10 | replaced front door entry light | staff | close