## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-06-23 | n | resident | 21W020361 | famis | FA-15C-B B | The water to my shower is very hot. It is too hot to shower in and the knob does not turn to change the temperature cooler. | M9-M10 | completed a building shutdown to replaced the seized catridge | resident | close
| n | resident | 21W020362 | famis | FA-15B-B B | shower is clogged water draining slow | M9-M10 | unclogged drain removed clog | resident | close
| n | resident | 21W020408 | famis | FA-15C-A B | shower is clogged water draining slow | M9-M10 | unclogged drain removed clog | resident | close
| n | resident | 21W020409 | famis | FA-15C-B B | shower is clogged water draining slow | M9-M10 | unclogged drain removed clog | resident | close
| n | resident | 21W020410 | famis | FA-15C-A B | sink backing up in bathroom | M9-M10 | snaked sink drain | resident | close
| n | resident | 21W020363 | famis | FA-03C-KIT | disposal is not working again | M9-M10 | check the disposal is working | resident | close
| n | resident | 21W020368 | famis | FA-02E-BAT | the shower seems to be clogged and the water doesn't drain properly | M9-M10 | unclogged drain removed clog | resident | close
| n | resident | 21W020412 | famis | FA-02E-KIT | disposal jammed | M9-M10 | reset disposal | resident | close
| n | resident | 21W020405 | famis | GM-I502 | trash chute on 5th floor is not opening | M9-M10 | checked rubbish and recycle doors on all floors all are opening and working | resident | close
| n | staff | 21W020411 | famis | GM-I502 | light out | M9-M10 | replaced corridor light | staff | close
| n | staff | 21W020407 | famis | GM-K POOL | inspect pool | M9-M10 | check chemicals and condition | staff | close