## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-06-24 | n | resident | 21W020484 | famis | FA-15H-A B | The water level in the tank of toilet is low so the toilet cannot be flushed | M9-M10 | adjusted fill valve unclogged toilet | resident | close
| n | resident | 21W020504 | famis | FA-15H | shower draining slow | M9-M10 | removed clog from the drain | resident | close
| n | resident | 21W020503 | famis | OB-044 | light in the dining room is out flickering | M9-M10 | replaced light | resident | close
| n | resident | 21W020505 | famis | OB-044 | disposal jammed | M9-M10 | removed debris from the disposal | resident | close
| n | resident | 21W020506 | famis | OB-041 | light is out | M9-M10 | replaced outdoor light | resident | close
| n | staff | 21W020507 | famis | GM-K POOL | PM the trash chutes | M9-M10 | drained and checked compressors and air leaks | staff | close
| n | staff | 21W020508 | famis | GM-F101 TR | PM the trash chutes | M9-M10 | drained and checked compressors and air leaks | staff | close
| n | staff | 21W020509 | famis | GM-G132 TR | PM the trash chutes | M9-M10 | drained and checked compressors and air leaks | staff | close
| n | staff | 21W020510 | famis | GM-I121 TR | PM the trash chutes | M9-M10 | drained and checked compressors and air leaks | staff | close
| n | staff | 21W020511 | famis | GM-L126 TR | PM the trash chutes | M9-M10 | drained and checked compressors and air leaks | staff | close
| n | staff | 21W020512 | famis | GM-M128 TR | PM the trash chutes | M9-M10 | drained and checked compressors and air leaks | staff | close