## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-06-26 | n | resident | 21W020581 | famis | OB-127 | no hot water | M10 | water is lit and working when I arrived to inspect | resident | close
| n | resident | 21W020582 | famis | PL-BUILDIN | the plaza gate on linden is not working properly, residents have come in to say that they can just pull it open without a key , maybe the latch got messed up and now isn't locking the gate | M10 | tigthened door latch handle and striker | staff | close
| n | resident | 21W020583 | famis | BB-L209 | light out | M10 | replaced ceiling light | resident | close
| n | ext-maint | 21W020588 | famis | PL-BUILDIN | light out | M10 | replaced exterior fixture by 49 with flushmount LED | staff | close
| n | ext-maint | 21W020589 | famis | OB-007 | light out | M10 | replaced exterior enty light | staff | close
| n | ext-maint | 21W020590 | famis | OB-008 | light out | M10 | replaced exterior enty light | staff | close
| n | ext-maint | 21W020591 | famis | OB-018 | light out | M10 | replaced exterior enty light | staff | close
| n | ext-maint | 21W020592 | famis | OB-028 | light out | M10 | replaced exterior enty light | staff | close
| n | ext-maint | 21W020593 | famis | OB-032 | light out | M10 | replaced exterior enty light | staff | close
| n | ext-maint | 21W020594 | famis | OB-034 | light out | M10 | replaced exterior enty light | staff | close
| n | ext-maint | 21W020595 | famis | OB-037 | light out | M10 | replaced exterior enty light | staff | close
| y | resident | 21W020585 | famis | OB-129 | The flapper inside the toilet tank is broken. Sometimes it will not close properly and the water will be wasted until I manually close it | M10 | resident requested daytime service | follow-up | open
| y | resident | 21W020584 | famis | OB-129 | The toilet is clogging. I have tried using a plunger but that only provides a temporary solution. It will clog again the next day. | M10 | resident requested daytime service | follow-up | open
| Y | resident | 21W020579 | famis | GMA-407 | AIR is not working | M10 | ac is not working, placed a portable ac unit in the living room | follow-up | open