## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-06-27 | N |  |  | M1 TRENT | BB-B | WATER LEAK IN WATER HEATER ROOM BY SUBSTATION | M9 | LOCATED LEAK SHUT WATER OFF MADE PERMANENT REPAIR ON WATER LINE |  | CLOSED\
| N | FAMMIS | 21W020586 |  | BBA-214 | CLOGGED BATH SINK | M9 | SNAKED DRAIN TO CLEAR CLOG | RESIDENT | CLOSED\
| N | FAMMIS | 21W020598 |  | OB-65 | LEAK IN WALL IN BATHROOM AREA | M9 | LOCATED LEAK BAHIND BATH WALL IN UNIT 78 CLAMPED PIPE TO STOP LEAK |  | CLOSED
| Y |  |  |  | OB-77 | DRYWALL REPAIR | M9 | DRYWALL IN BATH AREA NEEDS TO BE REPAIR DAMAGED BY LEAK | FOLLOW UP
| Y |  |  |  | 0B-78 | DRYWALL REPAIR | M9 | DRYWALL IN BATH AREA NEEDS TO BE REPAIR DAMAGED BY LEAK | FOLLOW UP
| N | FAMMIS | 21W020584 |  | OB-129 | CLOGGED TOILET | M9 | CLEARED TOILET | RESIDENT | CLOSED
| N | FAMMIS | 21W020585 |  | OB-129 | TOILET FLAPPY STAYS STUCK OPEN | M9 | REPLACED TOILET FLAPPY | RESIDENT | CLOSED
| N | FAMMIS | 21W020605 |  | GM-POOL | SERVICED POOL | M9 | INSPECT CHEMICAL WATER LEVELS |  | CLOSED