## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-07-01 | y | resident | 22W000053 | famis | BB-S302 | water leak in kitchen | M9-M10 | ac leak in kicthen vent unit | follow-up | open
| n | resident | 22W000056 | famis | BB-S302 | disposal not working | M9-M10 | reset disposal | resident | close
| n | resident | 22W000055 | famis | GM-L205 | We tried opening the door at first and the door would not budge with the keys in and we had tried turning the keys with the door handle and the keys are not working. I think the door handle may be broken. | M9-M10 | unjammed key lock was jamming also | resident | close
| n | resident | 22W000057 | famis | FA-15F | rd: call NOT HOT WATER boiler building 9 runs half of building 15 pinhole water leak on return water line spraying into the outlet and recirculation pump burnt out- NO POWER | M9-M10 | replaced groudfos recirculation pump, replaced leaking fitting on the copper return line, placed a temporary electrical connection to plug in the boiler and the recirculation pump | staff/resident | close
| Y | staff | 22W000058 | famis | FA-15F | water heater closet BLDG 9/ needs a new outlet and wire run to junction box | M9-M10 | replaced leaking fitting on the copper return line, | follow-up | open