## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-07-02 | n | resident | 22W000112 | famis | FA-04N | as is not cooling | M10 | set tstat on proper setting,repalced ac filter | resident | close
| n | resident | 22W000121 | famis | FA-04N-BAT | shower clogged | M10 | unclogged drain removed clog | resident | close
| n | staff | 22W000088 | famis | CDCS104 | Room 104 is missing two outlet covers. If we can please get this down before Tuesday since it will be the first day the classroom opens. | M10 | replaced broken outlet and wall plate covers | staff | close
| n | staff | 22W000114 | famis | CDCS129 | walk areas check for broke outlet covers | M10 | replaced broken outlet and wall plate covers | staff | close
| n | staff | 22W000115 | famis | CDCS127 | walk areas check for broke outlet covers | M10 | replaced broken outlet and wall plate covers | staff | close
| n | staff | 22W000116 | famis | CDCS126 | walk areas check for broke outlet covers | M10 | replaced broken outlet and wall plate covers | staff | close
| n | staff | 22W000117 | famis | CDCS101 | walk areas check for broke outlet covers | M10 | replaced broken outlet and wall plate covers | staff | close
| n | staff | 22W000118 | famis | CDCS105 | walk areas check for broke outlet covers | M10 | replaced broken outlet and wall plate covers | staff | close
| n | staff | 22W000119 | famis | CDCS108 | walk areas check for broke outlet covers | M10 | replaced broken outlet and wall plate covers | staff | close
| n | staff | 22W000120 | famis | CDCS122 | walk areas check for broke outlet covers | M10 | replaced broken outlet and wall plate covers | staff | close
| y | staff | n/a | radio | PHG- | fire alarm | M10 | alarm went off in PHE through PHH/reset alarm C.White s aware issue false alarm | staff | close