## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-07-03 | y | resident | 22W000128 | famis | OB-080 | ac is not cooling | M10 | reset tripped breaker for the ac unit,replaced ac filter unit still needs to be repaired | follow-up | open
| y | resident | 22W000122 | famis | GM-I309 | broken fridge handle | M10 | no handles in stock to replace | follow-up | open
| n | resident | 22W000125 | famis | GM-I309 | main light out | M10 | replaced bedroom light bed A | vacant unit | close
| n | resident | 22W000143 | famis | GM-I309 | ab sink clogging | M10 | unclogged pop up assembly | vacant unit | close
| n | resident | 22W000144 | famis | GM-I309 | toilet running | M10 | replaced fill valve and flapper | vacant unit | close
| y | resident | 22W000140 | famis | FA-02K-KIT | ac is not cooling | M10 | unclogged condensation line,replaced ac filter,set tsat properly | follow-up | open
| y | resident | 22W000141 | famis | FA-02K-BAT | ceiling damaged in bathroom ceiling | M10 | ceiling will need repairs after the ac is repaired,unclogged the condensation line | follow-up | open
| n | resident | 22W000142 | famis | FA-02K-KIT | refrigerator light out | M10 | replaced appliance light | resident | close
| y | es-maint | 22W000145 | famis | GM-L-GROUNDS/EXTERIOR | behind GML- bulding by the access road is not turning off flooding the area and running off into the street | M10 | SHUT OFF SERIES OF IRRIGATION VALVES ALONG THE ACCESS ROAD AND GML- | follow-up | open