## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-07-09 | y | resident | 22W000427 | famis | OB-117 | Water leaking from ceiling in the restroom | M10 | unclogged condensation drain,unit is still leaking-possible condensation pan issue | follow-up | open
| n | resident | 22W000429 | famis | OB-117 | Light bulbs out in the restroom. Needs replacement | M10 | replaced lights n restroom | resident | close
| n | resident | 22W000441 | famis | OB-117 | outlets are not working | M10 | reset gfci | resident | close
| n | resident | 22W000442 | famis | OB-117 | light switch is not working | M10 | replaced both light switches | resident | close
| n | resident | 22W000431 | famis | FA-12K-A B | bathroom sink clogged | M10 | unclogged ptrap assembly | resident | close
| n | resident | 22W000443 | famis | FA-12K-B B | toilet is not flusing | M10 | adjusted fill valve,augured toilet | resident | close
| n | resident | 22W000440 | famis | BB-R106 | toilet is not flusing | M10 | augered toilet,snaked drain | door tag | close
| n | M1 | n/a | radio | CDC-104 | cleanout cover fell | M10 | installed cover,checked the rest of the classrooms | staff | close