## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-07-13 | N | M1 |  |  | FA-1A | SECURE UNIT | M9 | SECURED UNIT |  | CLOSED
| N | M1 |  |  | FA-1E | SECURE UNIT | M9 | SECURED UNIT |  | CLOSED
| N | M1 |  |  | FA-1K | SECURE UNIT | M9 | SECURED UNIT |  | CLOSED
| N | M1 |  |  | FA-1H | SECURE UNIT | M9 | SECURED UNIT |  | CLOSED
| N | M1 |  |  | BBQ-LAUNDRY ROOM | WASHING MACHINES HAVE NO POWER | M9 | WASHING MACHINES ARE FUNCTIONAL
| N | CUST SPVR |  | CUST SPVR | CDC-104 | TOILET CONSTANTLY RUNNING | M9 | REPLACED VACCUM BREAKER ON SLOAN |  | CLOSED
| N | FAMMIS | 22W000614 |  | BBL-301 | AC NOT WORKING | M9 | OPERTATOR ERROR RESISDENT HAD THERMOSTAT SET ON HEAT | REISDENT
| N |  |  | RSO | BBF-202 | FIRE ALARM | M9 | BURNT FOOD | RESIDENT
| Y |  | 22W000612 | STEAM PLANT | OB-11 | AC NOT WORKING | M9 | AC NOT WORKING PROVIDED RESIDENT WITH BOX FAN | FOLLOIW UP | FOLLOW UP
| Y | ES-MAINT |  |  | GML | ELEVATOR NOT WORKING | M9 | ELEVATOR NOT WORKING | FOLLOW UP