## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-07-20 | n | resident | 22W001030 | famis | FA-04S-BAT | Shower head spews water from the side of the head when shower is turned on | M10 | replaced leaking shower head | resident | close
| n | resident | 22W001044 | famis | FA-04S | deadbolt jammed | M10 | lubed lock and tightened deadbolt | resident | close
| n | resident | 22W001045 | famis | FA-04S-BAT | toilet running | M10 | ajdusted fill valve and flapper | resident | close
| n | staff | 22W001046 | famis | FA-05F | lock up | M10 | secured and locked down unit | staff | close
| n | staff | 22W001047 | famis | FA-05H | lock up | M10 | secured and locked down unit | staff | close
| n | staff | 22W001048 | famis | FA-06R | lock up | M10 | secured and locked down unit | staff | close
| n | staff | 22W001049 | famis | BB-R101 | exterior building lighting is out | M10 | reset exterior breaker | staff | close
| y | resident | 22W001043 | famis | BB-V303 | light out above the sink Please come on afternoon. | M10 | resident not reponsive requested afternoon appt | follow-up | open