## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-07-23 | n | resident | 22W001249 | famis | OB-063 | Resident is asking to have the HVAC filter replaced. | M10 | replaced filter | resident | close
| n | resident | 22W001253 | famis | OB-063 | The water in the shower won't completely turn off | M10 | replaced catridge | resident | close
| n | resident | 22W001236 | famis | OB-095 | Three outlets in the kitchen stopped working. | M10 | reset breaker | resident | close
| n | resident | 22W001261 | famis | BB-S312 | The pipes underneath my sink are leaking.also a pipe from my shower roof that continuous leaks. | M10 | tighened angle stops,unclogged condensation drainline | resident | close
| n | resident | 22W001275 | famis | FA-17C-BAT | Garbage Disposal does not work appears to be jammed | M10 | reset and unclogged disposal | resident | close
| n | resident | 22W001244 | famis | OB-086 | Lights in the kitchen are flickering. Lights need to be changed | M10 | lights are working correctly no flickering or turning off | resident | open
| n | resident | 22W001260 | famis | OB-086 | Bathroom sink knob for the COLD water does not turn. No water comes out | M10 | replaced cold water faucet stem | resident | open
| y | resident | 22W001245 | famis | OB-086 | Kitchen refrigerator is broken inside at the bottom. | M10 | bottom shelf has some minor cracks found no replacement | follow-up | close
| y | resident | 22W001246 | famis | OB-086 | Kitchen sink is broken. When water is turned on, the water spouts and leaks | M10 | a bulding shutdown will be needed to replace the one piece angle stops to replace the kitchen faucet | follow-up | close