## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-08-13 | n | resident | 22W002631 | famis | GM-D306 | the drain is now plugged. I woke up this morning and the bathtub is now almost full of water that was previously in the drain. | M10 | snaked tub drain to unclog | resident | close
| n | resident | 22W002641 | famis | GM-I102 | toilet seats loose in both baths | M10 | inspected both toilet seats were snug and secure | door tag | close
| n | resident | 22W002644 | famis | GM-B405 | kitchen faucet is leaking | M10 | replaced faucet | resident | close
| n | resident | 22W002649 | famis | FA-12H-B B | toilet is running | M10 | replaced fill valve | resident | close
| n | resident | 22W002679 | famis | FA-12H-A B | toilet is running | M10 | replaced fill valve | resident | close
| y | resident | 22W002646 | famis | GM-A109 | bottom right burner is sparking | M10 | checked burner reset- need to replace the burner connection | follow-up | open
| n | es-maint | 22W002680 | famis | GM-F101 TR | PM compressors | M10 | drained trash chute compressor and checked for air leaks | staff | close
| n | es-maint | 22W002681 | famis | GM-G132 TR | PM compressors | M10 | drained trash chute compressor and checked for air leaks | staff | close
| n | es-maint | 22W002682 | famis | GM-I121 TR | PM compressors | M10 | drained trash chute compressor and checked for air leaks | staff | close
| n | es-maint | 22W002683 | famis | GM-L126 TR | PM compressors | M10 | drained trash chute compressor and checked for air leaks | staff | close
| n | es-maint | 22W002684 | famis | GM-M128 TR | PM compressors | M10 | drained trash chute compressor and checked for air leaks | staff | close
| n | resident | 22W002671 | famis | PL-D-55 | light out in bathroom | M10 | lights were working at sink and bathroom replaced hallway light | resident | close