## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-08-17 | n | resident | 22W002753 | famis | BB-G203 | We need the stove and the oven fixed. The right front stove is not working and the oven keeps burning everything when on normal temperature and takes too long to bake | M10 | inspected stove burners turn on the oven is working also sent photos to M1, | door tag | close
| n | resident | 22W002866 | famis | GM-E404 | kitchen sink clogged water coming up both sides | M10 | cleared drain unclogged ptrap drain | resident | close
| n | resident | 22W002869 | famis | FA-12P-KIT | disposal is not working | M10 | reset and unclogged | resident | close
| n | resident | 22W002885 | famis | FA-02G-KIT | light in hallway and bathroom are out | M10 | replaced vanity, hallway lights | resident | close
| n | resident | 22W002888 | famis | FA-12E-KIT | leak at the air vent in the hallway | M10 | unclogged condensation drainline | resident | close
| n | resident | 22W002933 | famis | FA-12E-KIT | dishwasher leaking | M10 | unclogged airgap | resident | close
| n | M1 | 22W002934 | famis | GM-A401 | PM ac filter replacement | M10 | replaced GMA-4th floor 20x202x1 ac filters 401-402-403-404-405-406-407 | staff | close
| n | M1 | 22W002935 | famis | GM-A301 | PM ac filter replacement | M10 | replaced GMB-3rd floor ac filters 20x20x1 301-302-303-304-305-306-307 | staff | close
| y | resident | 22W002892 | famis | GM-A106 | AC leaking | M10 | unclogged drainline leak is coming from the condensation pan | follow-up | open
| y | resident | 22W002868 | famis | FA-12P-B | The shower needs to be fixed the water does not get hot. | M10 | valve needs replacing | follow-up | open
| y | resident | 22W002932 | famis | GM-A109 | Right side kitchen sink in A109 is leaking when water goes down the drain. Leak comes out of garbage disposal system. | M10 | resident did not respond to resolve issue follow up AM | follow-up | open
| n | M1 | n/a | radio | BBQ-102 | lock up | M10 | secured unit | staff | close
| n | M1 | n/a | radio | BBR-102 | lock up | M10 | secured unit | staff | close
| n | M1 | n/a | radio | BBR-105 | lock up | M10 | secured unit | staff | close
| n | M1 | n/a | radio | BBR-201 | lock up | M10 | secured unit | staff | close