## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-08-20 | n | resident | 22W003115 | famis | FA-08B-KIT | In the back porch, the outdoor closet is leaking water. | M10 | leak is from the condensation drainline is normal there isnt a primary drain under the sink only one going out | door tag | close
| n | resident | 22W003116 | famis | FA-08B-KIT | One of the burners on the stove is lifted and won't go down | M10 | reset burners correctly in place | door tag | close
| n | resident | 22W003143 | famis | PL-C-35 | I do not have hot water in the bathroom and kitchen sink. I try moving the faucets around to adjust the temperature but no hot water comes out. | M10 | relit water heater | door tag | close
| n | resident | 22W003144 | famis | PL-C-35 | My left sink-side does not drain the water | M10 | replaced garbage disposal | door tag | close
| n | resident | 22W003146 | famis | GM-D209 | The ventilation also needs to be replaced. | M10 | microwave vent is working | resident | close
| n | resident | 22W003147 | famis | GM-D209 | Some of the outlets also don't work | M10 | lights and outlets are working off the half hot switch | resident | close
| n | resident | 22W003148 | famis | GM-D209 | One of the burners on the stove doesn't work | M10 | reset burners correctly in place | resident | close
| n | resident | 22W003149 | famis | PL-B-20 | shower is leaking | M10 | replaced controls knobs | resident | close
| y | resident | 22W003139 | famis | GM-I405-A/B | The shower head has very minimal pressure and becomes extremely hot when only turning the handle half way. There is no cold water at all, | M10 | the valve body is damages we need to replace the body or complete a shut down, the shut off screws on the body to replace the cartridge are damaged | follow-up | open
| y | resident | 22W003142 | famis | PL-B-20 | bathroom sink faucet does not shut off | M10 | cold side water angle stop is leaking needs shutoff,building gate valve is not working | follow-up | open
| n | M1 | n/a | radio | BBP | 202 lock unit | M10 | secured unit | staff | close
| n | M1 | n/a | radio | BBQ | 102 lock unit | M10 | secured unit | staff | close
| n | M1 | n/a | radio | BBR | 102-105-201-202-205-306-206 lock up units | M10 | secured units | staff | close
| n | M1 | n/a | radio | BBS | 109-206-307-310 lock up units | M10 | secured units | staff | close
| n | M1 | n/a | radio | BBT | 205-206-302-303-306 lock up units | M10 | secured units | staff | close