## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-09-04 | n | resident | 22W004214 | famis | GM-E404 | ktichen sink clogged | M10 | snaked kitchen mainline | resident | close
| n | resident | 22W004244 | famis | GM-E404 | toilet clogged | M10 | augured toilet clear | resident | close
| n | resident | 22W004215 | famis | FA-14B | smoke detector does not turn off beeping constantly | M10 | replaced detector | resident | close
| n | resident | 22W004245 | famis | FA-14B | front door not locking | M10 | lubed deadbolt | resident | close
| y | resident | 22W004212 | famis | OB-67 | ac is not cooling | M10 | ethan-placed temp unit-resident asked to comeback another time to troubleshoot system | follow-up | open
| y | resident | 22W004211 | famis | FK-7Q | ac is not cooling | M10 | reset breaker for the condenser-system needs check | follow-up | open
| n | ext-shift | 22W004246 | famis | GM-B104 | hall light out | M10 | replaced corridor light | staff | close
| n | ext-shift | 22W004247 | famis | GM-B202 | hall light out | M10 | replaced front door light | staff | close
| n | ext-shift | 22W004248 | famis | GM-B303 | hall light out | M10 | replaced front door light | staff | close
| n | ext-shift | 22W004249 | famis | GM-B307 | hall light out | M10 | replaced corridor light | staff | close
| n | ext-shift | 22W004250 | famis | GM-B406 | hall light out | M10 | replaced front door light | staff | close
| n | ext-shift | 22W004251 | famis | GM-B403 | hall light out | M10 | replaced corridor light | staff | close
| n | ext-shift | 22W004252 | famis | PL-D-EC | detached garages lights are out | M10 | reset breaker outside lighting | staff | close