## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-09-10 | n | staff | 22W004683 | famis | GM-L326 TR | trash piled up by chute | M10 | disposed of trash | staff | close
| n | staff | 22W004684 | famis | GM-M429 TR | trash piled up by chute | M10 | disposed of trash | staff | close
| n | resident | 22W004689 | famis | GM-A204 | it appears that once I finish taking a steamy shower in my restroom, the bathroom exhaust fan seems to result in a dripping noise/ sounds like water is dripping | M10 | 22W004770 | resident | close
| n | resident | 22W004697 | famis | FA-11E-BAT | hot water issue in the shower | M10 | hot water was restored if issue persists valve change needed in shower | resident | close
| n | resident | 22W004700 | famis | OB-088 | need ac filter changed | M10 | replaced ac filter | door tag | close
| n | resident | 22W004710 | famis | FA-14B | no hot water | M10 | hot water was restored | resident | close
| y | resident | 22W004695 | famis | A0204 | pocket door for the bathroom is no locking | M10 | need pocket lock replaced | follow-up | open
| n | M1 | n/a | radio | BBV- | secure units | M10 | H206-H301-I204-I303-I305-K302-K303-O102-O101-Q208-Q301 | staff | close
| Y | resident | 22W004770 | famis | OB-121 | plumbing is broken | M10 | resident description was vague went to inspect no response | follow-up | open