## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-09-11 | n | resident | 22W004800 | famis | BB-E306 | freezer in the fridge is not working | M10 | freezer is working and smal fridge | resident | close
| n | resident | 22W004801 | famis | PH-A106 | door is not locking | M10 | lubed lock, and secured | staff | close
| n | resident | 22W004798 | famis | GM-E210 | microwave is not working | M10 | reset appliance checked and ran unit was working | resident | close
| n | resident | 22W004807 | famis | GM-E100-EL | front door to the building is not unclocking | M10 | lubed lock left door is jamming when its closing | resident | close
| n | resident | 22W004782 | famis | GM-M205 | kitchen lights are not working | M10 | replaced both kitchen fixtures with a LED fixture | resident | close
| n | resident | 22W004792 | famis | FA-05A-BAT | toilet is filling and running | M10 | checked fill valve toilet is working | resident | close
| y | resident | 22W004795 | famis | GM-I303 | fridge door seal is coming apart and not cooing the fridge | M10 | door seal is damaged and the fridge has been fixedbefore, the seal is keeping the fridge from closing proper | follow-up | open
| n | resident | 22W004806 | famis | GM-I303 | refrigerator is not cooling | M10 | defrosted freezer evaporator fan was jammed resident has the freezer stuffed defrosted and reinstalled | resident | close