## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-09-18 | y | resident | 22W005769 | famis | GM-E209 | There’s a leak coming from the ceiling in the hall of the second floor of Glen Mor E Building right outside room 209 | M9-M10 | slow leak seems to be crom a return line in the ceiling | follow-up | open
| y | resident | 22W005774 | famis | GM-D209 | The kitchen sink is clogged, it is filled up with dirty water on both sides | M9-M10 | resident not responding on arrival follow up am | follow-up | open
| y | resident | 22W005770 | famis | GM-A203 | kitchen sink leaking | M9-M10 | resident not responding on arrival follow up am | follow-up | open
2021-09-17