## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-09-23 | n | resident | 22W006522 | famis | GM-G209 | shower is not getting hot water | M9-M10 | inspected stem and temp stop on both showers are getting hot and cold water | resident | close
| n | resident | 22W005492 | famis | GM-A403 | room d main light out | M9-M10 | replaced ballast and light | resident | close
| n | resident | 22W007177 | famis | GM-A406 | kitchen sink clogged | M9-M10 | reset unclogged disposal | resident | close
| n | resident | 22W007215 | famis | PL-B-24 | shower is not turning off | M9-M10 | completed shut down to replace the cartridge and handle | resident | close
| n | resident | 22W007306 | famis | PL-B-24 | bathroom sink clogged | M9-M10 | unclogged ptrap | resident | close
| n | resident | 22W007235 | famis | FA-16G-A B | toilet clogged | M9-M10 | augured toilet | resident | close
| n | resident | 22W007234 | famis | FA-16G-A B | shower clogged | M9-M10 | unclogged tub drain | resident | close
| n | resident | 22W007261 | famis | PL-E-62 | shower is not turning off | M9-M10 | completed shut down to replace the cartridge and handle | resident | close
| n | resident | 22W007054 | famis | BB-H301 | the toilet is leaking | M9-M10 | tightened supply line and fill valve | resident | close
| n | resident | 22W007275 | famis | PH-J246 | sink is overflowing with water | M9-M10 | snaked drainline | resident | close
| n | resident | 22W007307 | famis | GM-D207 | toilet is not flushing | M9-M10 | augured toilet,adjusted fill valve | resident | close
| y | resident | 22W007285 | famis | BB-T206 | kitchen sink clogged | M9-M10 | follow in am-late arrival to address the issue | follow-up | open
| y | resident | 22W007262 | famis | AI-D212 | the keys do not work on the door | M9-M10 | lock keeps spinning not unclocking the door | follow-up | open
| n | M1 | N/A | radio | BBA-304 | ac is not working place temp unit | M9-M10 | installed temp ac | resident | close
| n | M1 | N/A | radio | FK-GR 5 | lock up | M9-M10 | secured and opened for resident locked down | resident | close