## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-09-24 | n | resident | 22W007437 | famis | PL-D-53 | leak under sink | M10 | replaced garbage disposal | door tag | close
| n | resident | 22W007466 | famis | PL-D-47 | door to the bathroom is unlocked | M10 | secured door from bedroom to bathroom | resident | close
| n | resident | 22W007481 | famis | GM-I408 | tub stopper missing | M10 | installed stopper | resident | close
| n | resident | 22W007483 | famis | GM-I321 TR | trash chute jammed | M10 | custodial removed jamm in the recycle chute | staff | close
| n | resident | 22W007401 | famis | GM-D303 | kitchen sink clogged | M10 | snaked drainline | resident | close
| n | resident | 22W007499 | famis | LO-D422 | Residnet Saaraa Danish called the Lothian RSO and stated the outlet that her microfridge is plugged into is loose causing the microfridge to lose power. | M10 | unplugged fridge to the microwave into the wall instead | resident | close
| n | resident | 22W007504 | famis | GM-D211 | bedroom light C is out | M10 | replaced light fixture with LED | resident | close
| n | resident | 22W007520 | famis | GM-D211 | toilet is not flushing | M10 | augured toilet | resident | close
| y | resident | 22W007530 | famis | AI-D128 | Amberlight Emergency Exit door is broken from the side. A piece of the side of the door has come off. There is also a dent in the glass on the emergency door. Since there is a piece of the side missing, there is a gap for the side of the door. | M10 | placed trim piece back on the door it needs a permanent repair | follow-up | open
| n | resident | 22W007535 | famis | PH-L244 | bathroom sink backed up | M10 | snaked drainline | resident | close
| n | resident | 22W007539 | famis | BB-U106 | shower clogged | M10 | snaked drainline | resident | close
| n | resident | 22W007542 | famis | BB-V115 | shower clogged | M10 | snaked drainline | resident | close
| n | resident | 22W007487 | famis | GM-G509 | ab toilet is running | M10 | adjusted fill valve | resident | close
| n | resident | 22W007540 | famis | GM-G509 | cd toilet is running | M10 | replaced flapper and fill valve | resident | close
| n | resident | 22W007541 | famis | GM-G509 | ac is not cooling | M10 | cleaned supply screen reset system is cooling | resident | close