## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-09-25 | n | resident | 22W007482 | famis | GM-L404 | toilet is running and leaking | M10 | replaced flapper adjust fill valve | resident | close
| n | resident | 22W007527 | famis | LO-E212 | bathroom sink clogged | M10 | unclogged ptrap | resident | close
| n | resident | 22W007577 | famis | PH-M232 | bathroom sink overflowed and clogged | M10 | snaked drainline | resident | close
| n | resident | 22W007557 | famis | FA-03F-BAT | toilet is running and leaking | M10 | replaced fill valve | resident | close
| n | resident | 22W007553 | famis | FA-03B-BAT | toilet is running and leaking | M10 | replaced fill valve | resident | close
| n | resident | 22W007399 | famis | BB-S202 | leak under vanity sink | M10 | tightened ptrap assembly,repaired pop up | resident | close
| n | resident | 22W007554 | famis | PH-O136 | toilet is clogged and floor is wet | M10 | augured toilet,adjusted water flow | resident | close
| n | resident | 22W007580 | famis | PH-M345 | shower is clogged | M10 | snaked drainline | resident | close
| n | resident | 22W007597 | famis | PH-M241 | lock out | M10 | resident was locked out let them into their unit | resident | close
| n | resident | 22W007407 | famis | GM-A302 | cd toilet running and hissing | M10 | replaced fill valve and flapper | resident | close
| n | resident | 22W007586 | famis | GM-D403 | kitchen sink clogged | M10 | snaked drainline | resident | close