## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | Comments: | Contact/customer you communicated resolution to | Open or Closed
2021-09-27 | N | M1 TRENT |  |  | GMD-410 | THE LIGHT ON THE AB SIDE BATHROOM IS NOT WORKING | M9 | REPLACED BALLAST AND BULB | RESIDENT | CLOSED
| N | M1 TRENT |  |  | GMA-405 | WINDOW FRAME CAME APART | M9 | RESECURED WINDOW FRAME REPLACED SPRINGS | RESIDENT | CLOSED
| N | FAMMIS | 22W007787 |  | FA-16A | TOILET IS CLOGGED | M9 | REMOVED TOILET AND SNAKED DRAIN | RESIDENT | CLOSED
| N | M1 TRENT |  |  | BBA-107 | SECURE UNIT | M9 | SECURED UNIT |  | CLOSED
| N | M1 TRENT |  |  | BBR-101 | SECURE UNIT | M9 | SECURED UNIT |  | CLOSED
| N |  |  | GM RSO | GMF-305 | FIRE ALARM | M9 | VAPING |  | CLOSED
| N | FAMMIS | 22W007777 |  | GMB-403 | LEAK UNDER KITCHEN SINK | M9 | REPLACED DISPOSAL | DOOR TAG | CLOSED
| N |  |  | GM RSO | GML | RESIDENTS IN L BUILDING MELL GAS | M9 | COULD NOT LOCATE ANY GAS SMELL |  | CLOSED
| N | FAMMIS | 22W007895 |  | GMD-204 | TOILET MAKING SOME WEIRD NOISES | M9 | REPLACED FILL VALVE | RESIDENT | CLOSED
| N | FAMMIS | 22W007796 |  | GMG-208 | AB SHOWER ONLY GETS HOT WATER | M9 | REPLACED SHOWER SPINDLE | RESIDENT | CLOSED
| Y |  |  | STEAM PLANT | PHH-330 | RESIDENT CANNOT UNLOCK DOOR LOCK | M9 | MANAGED TO GET POCKET DOOR LOCK TO DISINGAGE BUT DOOR LOCK NEEDS TO BE REPLACED ON THYE FURTHIS STALL | RESIDENT | FOLLOW UP
| N | FAMMIS | 22W007771 |  | GMI-203 | SHOWER HEAD HAS NO PRESSURE | M9 | REPLACED SHOWER HEAD | RESIDENT | CLOSED
| N | FAMMIS | 22W007898 |  | BBQ-102 | NO POWEER IN UNIT | M9 | RESET CIRCUIT BREAKER | RESIDENT | CLOSED