## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-09-30 | n | staff | 22W008301 | famis | CDCN1001B | lights are not working | M9-M10 | replaced overhead light in bathroom | staff | close
| n | staff | 22W008462 | famis | CDCN-1231 | toilet leaking | M9-M10 | replaced sloan breaker | staff | close
| n | resident | 22W008354 | famis | BB-E306 | sink pop up is not working | M9-M10 | replaced pop up assembly | resident | close
| n | resident | 22W008397 | famis | GM-F402 | shower hose is torn | M9-M10 | replaced shower head and hose | resident | close
| n | resident | 22W008461 | famis | GM-D208 | toilet is not flushing cd | M9-M10 | unclogged toilet with closet auger | resident | close
| n | resident | 22W008402 | famis | GM-D208 | toilet is not flushing ab | M9-M10 | replaced handle | resident | close
| n | resident | 22W008438 | famis | PH-N117 | sink is clogged again | M9-M10 | snaked mainline | resident | close
| n | resident | 22W008440 | famis | FA-01M-A B | toilet is running | M9-M10 | adjusted fill valve | resident | close
| n | resident | 22W008441 | famis | LO-B323 | first stall is clogged | M9-M10 | snaked toilet drain removed feminine products | resident | close
| n | resident | 22W008450 | famis | LO-E113 | foul smell like gas | M9-M10 | walk are found no foul smells in area | resident | close
| n | resident | 22W008458 | famis | PH-L348 | shower drain is clogged | M9-M10 | snaked drain | resident | close
| n | resident | 22W008460 | famis | GM-B102 | toilet is clogged and overflowing | M9-M10 | replaced toilet flapper,unclogged with closet auger | resident | close
| n | resident | 22W005696 | famis | GM-L206 | shelf is missing | M9-M10 | installed shelf | resident | close
| y | resident | 22W008404 | famis | FA-11R-BAT | shower is not getting cold water | M9-M10 | the valve body is damaged,adjusted the valve to supply with cold and warm water temp repair | follow-up | open
| y | resident | 22W008424 | famis | GM-D204 | leak in ceiling by the vent in bathroom | M9-M10 | leak from the ceiling drip upstairs is dry no apparent leaks needs follow-up | follow-up | open