## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-10-01 | n | resident | 22W008592 | famis | GM-D308 | toilet is clogged | M10 | augured toilet unclogged | resident | close
| n | resident | 22W008607 | famis | GM-G108 | ac is not cooling | M10 | cleaned supply screen reset system | resident | close
| n | resident | 22W008598 | famis | GM-G108 | disposal is jammed | M10 | reset and unclogged | resident | close
| y | resident | 22W008576 | famis | GM-M309 | door is not opening main door | M10 | door keypad is nto working for the resident hard key is | follow-up | open
| y | staff | 22W008595 | famis | AI-E201 | e wing elevator is stuck | M10 | central plant called ben k- for dispatch | follow-up | open
| n | resident | 22W008601 | famis | GM-L506 | tub is overflowing | M10 | unclogged tub,custodial extracted carpets and cleaned floors | resident | close
| n | resident | 22W008602 | famis | GM-I304 | toilet is clogged | M10 | augured toilet unclogged | resident | close
| n | resident | 22W008603 | famis | PH-P347 | bathroom sink clogged | M10 | snaked drainline | resident | close
| n | staff | 22W008522 | famis | CDCN1231 | storage room light is out | M10 | replaced room lights | staff | close
| n | staff | 22W008597 | famis | PH-F101 | door is not locking | M10 | secured bathroom door | staff | close
| n | staff | 22W008599 | famis | PH-F111 | door is not locking | M10 | locked down door released panic bars | staff | close
| n | staff | 22W008600 | famis | PH-G101 | door is not locking | M10 | locked down door released panic bars | staff | close
| n | M1 | n/a | radio | PLAZA-F | lock down | M10 | secured all units after clean up | staff | close
| Y | M1 | n/a | radio | GLASGOW-dining | alarm for the cooling system | M10 | assesed and called M1 to call out ac tech to repair | follow-up | open
| Y | staff | n/a | radio | OBAN-48 | sink is leaking | M10 | bathroom cold angle stop is leaking need shut down to replace | follow-up | open
| n | staff | n/a | radio | PHO-150 | access needed | M10 | opened door for custodial | staff | close
| n | M1 | n/a | radio | GML- | chute compressor | M10 | installed compressor after repairs were made | staff | close