## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-10-12 | n | staff | n/a | radio | GMI-407 | bathroom door locked | M9-M10 | both doors are unlocked | resident | close
| n | resident | 22W010015 | famis | PH-D101 | sink is draining slow | M9-M10 | public bathroom sinks are draining | resident | close
| n | resident | 22W010030 | famis | GM-L509 | shower clogged | M9-M10 | unclogged drain line removed clog | resident | close
| n | resident | 22W010002 | famis | GM-B306 | shower head spraying into the wall | M9-M10 | replaced shower head hose holder | resident | close
| n | resident | 22W010031 | famis | GM-F506 | sink is draining slow | M9-M10 | unclogged ptrap assembly | resident | close
| n | resident | 22W010024 | famis | PL-D-50 | shower is not turning off | M9-M10 | replaced control knobs | resident | close
| n | resident | 22W010016 | famis | BB-V109 | kitchen sink is not draining | M9-M10 | snaked sink mainline | resident | close
| y | resident | 22W010034 | famis | FA-01S-B B | no hot water | M9-M10 | water heater closet outlet has no power we were unable to locate the power source or breaker to reset | follow-up | open
| n | resident | 22W010007 | famis | PH-L240 | sink is clogged | M9-M10 | snaked sink mainline | resident | close
| n | resident | 22W009998 | famis | PH-L247 | sink is clogged | M9-M10 | snaked sink mainline | resident | close
| n | resident | 22W009999 | famis | PH-L138 | shower is clogged | M9-M10 | snaked shower | resident | close
| y | staff | 22W009786 | famis | CDC-N1117 | faucet is leaking | M9-M10 | tightened the handle the faucet need to be replaced need to find correct one to install | follow-up | open
| n | M1 | n/a | radio | OB-87 | lock up | M9-M10 | secured unit | staff | close
| n | M1 | n/a | radio | BBV-212 | lock up | M9-M10 | secured unit | staff | close