## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-10-13 | n | resident | 22W010165 | famis | PL-D-45 | no hot water | M9-M10 | relit water heater | resident | close
| n | resident | 22W010175 | famis | PL-D-45 | toilet is leaking | M9-M10 | replaced fill valve and flapper | resident | close
| n | resident | 22W010203 | famis | GM-F602 | cd shower leaks | M9-M10 | replaced shower spindle stem | resident | close
| n | resident | 22W010204 | famis | GM-F602 | dishwasher leaking water | M9-M10 | resident used dishwashing soap, the system foamed up with soap leaking ran in several cycle to drain | resident | close
| n | resident | 22W010216 | famis | GM-F602 | sink clogged | M9-M10 | unclogged pop up assembly | resident | close
| n | resident | 22W010179 | famis | GM-F509 | faucet leaks | M9-M10 | tightened faucet body | resident | close
| n | resident | 22W010215 | famis | GM-F509 | refrigerator leaking water | M9-M10 | reset fridge,lowered fridge settings | resident | close
| n | resident | 22W010186 | famis | GM-L307 | window in room c doesn’t open | M9-M10 | removed window and attached counterbalance springs | resident | close
| n | resident | 22W010196 | famis | GM-L426 TR | trash chite doors are not working | M9-M10 | reset breaker drained compressor | resident | close
| n | resident | 22W010197 | famis | AI-A149 | key is not opening with residents key | M9-M10 | lubed lock | resident | close
| n | staff | 22W010213 | famis | PH-H101 | door doesn’t lock | M9-M10 | secured door locked | staff | close
| n | staff | 22W010214 | famis | PH-A102 | door doesn’t lock | M9-M10 | secured door locked | staff | close
| n | resident | 22W010198 | famis | AI-E301 | lgiht falling from the ceiling | M9-M10 | secured light | resident | close
| n | staff | n/a | radio | OB-87 | lock up | M9-M10 | secured unit | staff | close
| n | staff | n/a | radio | PHP-102 | access unit for custodial | M9-M10 | unlocked for staff to clean | staff | close
| n | staff | n/a | radio | PHO-150 | access unit for custodial | M9-M10 | unlocked for staff to clean | staff | close