## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-10-15 | n | resident | 22W010383 | famis | OB-076 | tub is clogged | M9-M10 | unclogged hallway tub shower | resident | close
| n | resident | 22W010373 | famis | LO-E112 | sink clogged | M9-M10 | unclogged pop up drain | resident | close
| n | resident | 22W010372 | famis | GM-C-GROUN | door is not opening | M9-M10 | set unit 008 out of order | resident | close
| n | resident | 22W010357 | famis | PH-J138 | showe holder is broken | M9-M10 | isntalled handle and hose holder | resident | close
| n | resident | 22W010325 | famis | OB-076 | install trim on shower | M9-M10 | replaced trim after reglaze | resident | close
| n | resident | 22W010289 | famis | GM-L106 | toilet is running and leaking | M9-M10 | replaced flapper | resident | close
| n | resident | 22W010282 | famis | FA-05A-BAT | tub is clogged | M9-M10 | unclogged tub drain | resident | close
| n | staff | 22W010237 | famis | CDC-1131 | faucet leaking | M9-M10 | repair tightend handle will replaced springs and seats | staff | close
| n | resident | 22W010393 | famis | GM-L208 | sink clogged | M9-M10 | unclogged pop up drain | resident | close
| n | staff | 22W010394 | famis | PH-I-GROUN | exterior lighting is out | M9-M10 | turned on timer for the bak area of pole lights | staff | close
| n | resident | 22W010391 | famis | GM-L106 | toilet is leaking | M9-M10 | repaired toielt replaced flapper | resident | close
| y | resident | 22W010392 | famis | GM-L106 | cd ceiling leaking needs repair | M9-M10 | ceiling needs to be abated and repaired toilet replaced wax ring in L208 | follow-up | open
| y | resident | 22W010381 | famis | PL-B-30 | range flame up small fire in back burner | M9-M10 | burned wired going to the burners the stove needs to be replaced couldn’t repair | follow-up | open
| y | resident | 22W010285 | famis | FA-05A-KIT | fridge is leaking | M9-M10 | fridge seal is torn need to replace | follow-up | open