## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-10-15 | n | resident | 22W010514 | famis | GM-F206 | no power in half of the apartment | M10 | reset breakers | resident | close
| n | resident | 22W010513 | famis | FA-07H-KIT | sink is clogged | M10 | unclogged disposal | door tag | close
| n | resident | 22W010512 | famis | FA-07H-BAT | toilet is leaking | M10 | tigthened supply lines and tank bolts | door tag | close
| n | resident | 22W010511 | famis | PH-I227 | toilet clogged | M10 | augured toilet unclogged | resident | close
| n | staff | 22W010451 | famis | CDC-N1117 | kitchen faucet leaking | M10 | replaced kitchen faucet | staff | close
| n | staff | 22W010237 | famis | CDC-N1131 | kitchen faucet leaking | M10 | replaced body seals and gaskets | staff | close
| n | staff | 22W009786 | famis | CDC-N1131 | water fountain leaking | M10 | replaced compression nut and gasket for the water supply | staff | close
| n | staff | 22W008551 | famis | CDC-N1231 | replace white board with bulletin board | M10 | isntalled bulletin board removed white board | staff | close
| n | resident | 22W010517 | famis | FA-9E | disposal is not working | M10 | reset unclogged | door tag | close
| n | staff | n/a | radio | AVC- | remove propane tanks from portabl heaters | M10 | stored tanks in chiller rooms | staff | close
| n | staff | n/a | radio | GM-A107 | custodial staff acces needed | M10 | unlocked unit | staff | close
| n | staff | n/a | radio | GM-M202 | custodial staff acces needed | M10 | unlocked unit | staff | close
| n | resident | 22W010518 | famis | GM-I400 | resident report burning smell | M10 | walked all floors and rooftop-electrical and mechanical rooms founs no smell or issues | staff | close