## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-10-16 | n | resident | 22W010531 | famis | GM-I405 | room b door is not opening | M10 | door latch is broken,access called in to repair David replaced handle | resident | close
| n | resident | 22W010540 | famis | LO-A304 | stall is clogged | M10 | augured toilet | staff | close
| n | resident | 22W010541 | famis | GM-B307 | leaking toilet | M10 | replaced supply line | resident | close
| n | resident | 22W010529 | famis | LO-A423 | shower is not turning off | M10 | tightened handle | staff | close
| n | staff | 22W005100 | famis | CDC S105 | gap by back door sweep | M10 | placed insluation on small area by the bottom of the door | staff | close
| n | staff | 21W018124 | famis | CDC S101 | light out in kitchen | M10 | replaced can lights and ceiling fixture for the emergency light | staff | close
| n | staff | 22W007828 | famis | CDC S104 | light out in the classroom | M10 | replaced two hangin lights | staff | close
| n | staff | 22W010546 | famis | GM-M128 TR | pm trash chute compressor | M10 | drained and checked for air leaks | staff | close
| n | staff | 22W010545 | famis | GM-L126 TR | pm trash chute compressor | M10 | drained and checked for air leaks | staff | close
| n | staff | 22W010544 | famis | GM-I121 TR | pm trash chute compressor | M10 | drained and checked for air leaks | staff | close
| n | staff | 22W010543 | famis | GM-G132 TR | pm trash chute compressor | M10 | drained and checked for air leaks | staff | close
| n | staff | 22W010542 | famis | GM-F101 TR | pm trash chute compressor | M10 | drained and checked for air leaks | staff | close