## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-10-27 | n | resident | 22W011644 | famis | AI-A138 | stall is not flushing | M9-M10 | used closet auger to unclog | resident | close
| n | m1 | n/a | radio | GML-108 | placed temp ac in unit | M9-M10 | placed temp ac in living room | resident | close
| n | staff | 22W011642 | radio | BB-T104 | smoke alarm went off | M9-M10 | due to resident burning food | resident | close
| n | resident | 22W011649 | famis | PH-J310 | sink is leaking in the lounge | M9-M10 | tightened angle stops | resident | close
| n | resident | 22W011652 | famis | GM-I402 | sink is not draining | M9-M10 | reset and unclogged garbage disposal | resident | close
| n | resident | 22W011594 | famis | GM-M302 | tub is draining slow | M9-M10 | unclogged drain removed clog | resident | close
| n | staff | 21W016844 | famis | CDC-S120 | hallway lights out | M9-M10 | replaced total 8 can lights with LED, 3 lights are still having issue with staying on we need aquire the correct lamps | staff | close
| y | staff | 22W011607 | famis | CDC-S | front door is not shutting all the way | M9-M10 | need acces to follow up and isnpect why the maint entry door does not close all the way | follow-up | open
| y | staff | 22W011653 | famis | LO-F416 | strong gas smell reported by RA | M9-M10 | checked the bathroom and roof found no cause for the smell possible water that’s holding on the roof close to the bathroom exhaust was a possible cause | follow-up | open
| n | resident | 22W011655 | famis | PH-J314 | stall is not flushing | M9-M10 | used closet auger to unclog | resident | close
| n | resident | 22W011654 | famis | AI-A133 | stall is not flushing | M9-M10 | used closet auger to unclog | resident | close