## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-10-29 | n | resident | 22W012029 | famis | PH-F300 | broken plug inside the outlet | M10 | removed broken pieces from the outlet | resident | close
| n | resident | 22W012038 | famis | PL-B-30 | hvac is not working | M10 | replaced condenser fan motor,and capacitor | resident | close
| n | resident | 22W011973 | famis | CDC-N1131 | shut off water to water fountain | M10 | shut off water | staff | close
| n | resident | 22W012053 | famis | GM-B407 | leak from bathroom vent ab side above toilet | M10 | found no cause from the roof-resident says is doesn’t happen all the time sometimes theres a drip | follow-up | close
| n | resident | 22W012052 | famis | GM-F506 | toilet is clogged and overflowed | M10 | closet augered toilet to unclog custodial went to clean up water overflowed into roomd C and D and bathroom area | resident | close
| n | resident | 22W012030 | famis | PL-E-58 | refrigerator light is out | M10 | replaced light | resident | close
| n | resident | 22W012031 | famis | PL-E-58 | leak under sink | M10 | repaired drain assembly | resident | close
| n | M1 | n/a | radio | PL-68 | unlock unit for cleanup | M10 | opened and secured unit for the custodial team | staff | close
| n | M1 | n/a | radio | PL-70 | unlock unit for cleanup | M10 | opened and secured unit for the custodial team | staff | close