## Sheet1
extended shift report
Date | Follow up needed Y/N | requested by: | Work Order # | Contacted by: | Location: | Problem: | Responded By: | comments: | Contact/customer you communicated resolution to | Open or Closed
2021-10-30 | n | resident | 22W012059 | famis | AI-B322 | showers not draining | M10 | unclogged drainline removed clog | resident | close
| n | resident | 22W012066 | famis | AI-E322 | bahtroom sink clogged | M10 | unclogged drainline removed clog | resident | close
| n | resident | 22W012065 | famis | AI-B322 | toilet stall clogged | M10 | augered toilet stall unclogged | resident | close
| n | resident | 22W012072 | famis | BB-V205 | no power in the outlets | M10 | reset breaker | resident | close
| n | resident | 22W012070 | famis | FA-01F-A B | bathrooom door is locked | M10 | checked both bathroom doors unlocked | resident | close
| n | staff | 22W012079 | famis | GM-G132 TR | PM trash chute compressor | M10 | drained compressor inpected chutes for air leaks | staff | close
| n | staff | 22W012082 | famis | GM-L126 TR | PM trash chute compressor | M10 | drained compressor inpected chutes for air leaks | staff | close
| n | staff | 22W012081 | famis | GM-I121 TR | PM trash chute compressor | M10 | drained compressor inpected chutes for air leaks | staff | close
| n | staff | 22W012080 | famis | GM-F101 TR | PM trash chute compressor | M10 | drained compressor inpected chutes for air leaks | staff | close
| n | staff | 22W012083 | famis | GM-M128 TR | PM trash chute compressor | M10 | drained compressor inpected chutes for air leaks | staff | close
| Y | staff | n/a | ext shift | GMF-201 | leak from upstairs into the maintenance shop | M10 | place can on the table by the time clock to catch droplets,resident in F201 CD was showering leaking from under the tub found no cracks in the tub | follow-up | open